PAGE  
[image: image6.wmf][image: image6.wmf]                              CNAOB ELECTRIC CO.,LTD.                  Http：//www.cnaob.com

Price List                          Class: 0.5%
	Picture information
	Product Type
	Unit price

(USD)
	Panel dimension(mm)
	Hole cutout dimension(mm)
	QTY/CTN

(piece)
	Packing

(mm)
	N.W.

(kg)
	G.W.

(kg)

	[image: image1.jpg]



input signal（0：K；1：S；2：E；3：J；4：Cu50；5：Pt100；6：0-5V；7：1-5V；8：0-20mA；9：4-20mA）freely optional
	AOB508-A21
	11.50
	96×96
	92×92
	36
	450×365×395
	
	

	
	AOB508-D21
	11.50
	72×72
	68×68
	36
	425×290×300
	
	

	
	AOB508-E21
	11.50
	48×96
	45×92
	45
	395×310×390
	
	

	
	AOB508-F21
	11.50
	96×48
	92×45
	45
	395×310×390
	
	

	
	AOB508-G21
	15.00
	48×48
	45×45
	40
	380×250×300
	
	

	
	AOB508-H21
	15.00
	160×80
	152×76
	18
	395×310×390
	
	

	
	AOB508-S21
	15.00
	80×160
	76×152
	18
	395×310×390
	
	

	
	one relay contact switched output channeland one alarm output channel, 

	[image: image2.jpg]



input signal（0：K；1：S；2：E；3：J；4：Cu50；5：Pt100；6：0-5V；7：1-5V；8：0-20mA；9：4-20mA）freely optional
	AOB508-A41
	11.50
	96×96
	92×92
	36
	450×365×395
	
	

	
	AOB508-D41
	11.50
	72×72
	68×68
	36
	425×290×300
	
	

	
	AOB508-E41
	11.50
	48×96
	45×92
	45
	395×310×390
	
	

	
	AOB508-F41
	11.50
	96×48
	92×45
	45
	395×310×390
	
	

	
	AOB508-G41
	15.00
	48×48
	45×45
	40
	380×250×300
	
	

	
	AOB508-H41
	15.00
	160×80
	152×76
	18
	395×310×390
	
	

	
	AOB508-S41
	15.00
	80×160
	76×152
	18
	395×310×390
	
	

	
	Solid-state relay drive voltage outputand one alarm output channel,

	[image: image3.jpg]cnaoe

BEEE

9888

888





input signal（0：K；1：S；2：E；3：J；4：Cu50；5：Pt100；6：0-5V；7：1-5V；8：0-20mA；9：4-20mA）freely optional
	AOB508-A61
	17.50
	96×96
	92×92
	36
	450×365×395
	
	

	
	AOB508-D61
	17.50
	72×72
	68×68
	36
	425×290×300
	
	

	
	AOB508-E61
	17.50
	48×96
	45×92
	45
	395×310×390
	
	

	
	AOB508-F61
	17.50
	96×48
	92×45
	45
	395×310×390
	
	

	
	AOB508-G61
	19.50
	48×48
	45×45
	40
	380×250×300
	
	


	
	AOB508-H61
	19.50
	160×80
	152×76
	18
	395×310×390
	
	

	
	AOB508-S61
	19.50
	80×160
	76×152
	18
	395×310×390
	
	

	
	Single-phase thyristor zero-crossing trigger signal output and one alarm output channel,


Price List                          Class: 0.2%
	Picture information
	Product Type
	Unit price

(USD)
	Panel dimension(mm)
	Hole cutout dimension(mm)
	QTY/CTN

(piece)
	Packing

(mm)
	N.W.

(kg)
	G.W.

(kg)

	[image: image4.jpg]



	AOB808-A
	26.00
	96×96
	92×92
	36
	450×365×395
	
	

	
	AOB808-D
	26.00
	72×72
	68×68
	36
	425×290×300
	
	

	
	AOB808-E
	26.00
	48×96
	45×92
	45
	395×310×390
	
	

	
	AOB808-F
	26.00
	96×48
	92×45
	45
	395×310×390
	
	

	
	AOB808-G
	28.00
	48×48
	45×45
	40
	380×250×300
	
	

	
	AOB808-H
	28.00
	160×80
	152×76
	18
	395×310×390
	
	

	
	AOB808-S
	28.00
	80×160
	76×152
	18
	395×310×390
	
	

	
	Modules L2, L4, G, W1, X, X5, K1, K5/K7, S, U24, U12, U10, U5 can be added


[image: image5.jpg]CNAnOB

i
IH_H_IU
ooog

CcNADB o O

‘HEEE
‘gEEE | m -

~

o
= - g £2 B3
s B AT

408808
A0B8O8




Note: 
1. The meter prices in the above list haven’t included the price of modules. Module price should be added when you need.( Please see the detail price list of modules as following page)
2. Meters with different shape can support different module quantity. For example, AOB808G only supports two modules; AOB808D only supports three modules; other shapes support at most four modules.
Detail Price List Of Modules
	Module name
	Module Code
	Technical parameters
	Unit price

(USD)
	Note

	Output module of relay contact switch(Alarm output)
	L2
	Normally closed + normally open (absorbed by varistor), 30VDC/1A, 250VAC/1A
	2.60
	

	Output module of relay contact switch(control output) 
	L4
	Normally closed + normally open (absorbed by varistor), 30VDC/5A，250VAC/5A
	3.75
	

	Solid-state relay drive voltage output
	G
	Output voltage:DC12V/25mA, with function of output short-circuit protection  
	3.75
	

	Output module of non-contacting thyristor switch
	W1
	Normally open, 100-240VAC/0.2A (consistent), 2A (20ms,instantaneous, repeat circle >5s), recommended for controlling AC contactor of 100A below
	6.60
	

	Output module of direct current
	X
	Optoelectronic isolation , for controlling or transmitting (0.5 level) output, output voltage> 10.5VDC, freely changeable among 0-10mA, 0-20mA and 4-20mA, resolution no less than 0.1%
	6.60
	

	Output module of direct voltage
	X5
	Optoelectronic isolation , For controlling or transmitting (0.5 level) output, output impedance: 250Ω, freely changeable between 0-5V and 1-5V, resolution no less than 0.1%
	6.60
	

	Output module of single-phase thyristor zero-crossing trigger signal
	K1
	100-380VAC, adaptive electric network frequency, capable of triggering 5-500A TRIAC or 2 SCRs in inverse parallel connection or thyristor power module
	6.60
	

	Output module of single-phase thyristor phase-shifting trigger signal
	K5/K7
	K5:220-380VAC / K7:100-220VAC, adaptive electric network frequency, capable of triggering 5-500A TRIAC or 2 SCRs in inverse parallel connection or thyristor power module
	8.70
	

	RS485 COMMUNICATION INTERFACE
	S
	Optoelectronic isolation
	6.60
	

	DC 24V feeding voltage output module 
	U24
	Power supply isolation，24V±5%，up to 50mA
	2.60
	

	DC 12V feeding voltage output module
	U12
	Power supply isolation，12V±5%，up to 50mA
	2.60
	

	DC 10V feeding voltage output module
	U10
	Power supply isolation，10V±5%，up to 50mA
	2.60
	

	DC 5V feeding voltage output module
	U5
	Power supply isolation，5V±5%，up to 50mA
	2.60
	


PAGE  
1

_1203949690.unknown

